ACCESS CHECKLIST

Car Parking	Yes	  No

Are car parking spaces for disabled people near to the main entrance? 		

Are these spaces clearly marked, Parking for Disabled People?		

*Wide enough to fully open the doors to allow wheelchair access?		

*Car parking spaces should be at least 4.8m long x 3.6m wide.

External Movement

Once out of their car would a disabled person have free access to the site or are there?

Steps/Kerbs		

Gravelled areas		

Uneven paving		

Steep slopes		

Car parking surfaces should be smooth and even.  Kerbs must have dropped sections at points where wheelchair users need access.

Main Entrance

Does the main entrance to your building have:

Steps (anything more than 15mm high is counted as a step)		

Thresholds		

Changes in level		

Yes 	No

Where there are steps do they have colour contrasted edges?		

Is there a continuous handrail on all flights of stairs and any landings?		

*Is there also a ramp provided for access?		

Is there a continuous handrail provide on the ramp and any landings?		

**Is the door wide enough for a wheelchair user to get through unaided?		

If no, is there an alternative wheelchair accessible entrance provided?		

*If a ramp or slope is provided it should be up to 2m long for slopes

1:12, up to 5m long for slopes of 1:15.

**The clear door opening should be at least 800 mm.

Internal Movement

If there is a lobby, is it possible for a wheelchair user to negotiate the doors?		

Do all internal doors allow a wheelchair user to get through unaided?		

Do the doors have vision panels?		

Are all corridors at least 1.2m wide and unobstructed?		

Is there a turning circle of at least 1.5m for wheelchair users?		

Is there a wheelchair accessible toilet?		

Vertical Movement	Yes	No

Is the building on more than one floor?		

If yes, do the internal steps/stairs have colour contrasting edges?		

Is there a continuous handrail on each stair flight and landing?		

Does the building have a lift?		

Is there any other means to move between floors?		

Would a wheelchair user be able to use all fire exits in areas accessible to them?		

Sensory Impairment

*Are non visual guides used to assist people using the building?		

Could the décor be confusing or disorientating for disabled people?		

**Is a hearing loop available in the building?		

Are fire alarms both visual and audible?		

*Tactile signs, lifts with tactile call and floor buttons, textures on walls and floors.

**Hearing inductions loops which enable a person with a hearing aid fitted with a “T” switch to pick up sounds can be either fitted to the structure of the room or be portable.

This check list is for guidance only it does not constitute a full access audit.